## Slide 1
Small
Simple
Serviceable
HVAC Solutions for Multi-Family Housing
James Petersen, PE - Principal

## Slide 2
https://youtu.be/035tT_DvJGs

## Slide 22: HEATING

## Slide 32: Heating – Rule of Thumb
~1,000SF
LOAD =
35 BTU/HR/SF =
35 X 1000=
35,000 BTU

## Slide 34: COOLING

## Slide 35: Cooling – Rule of Thumb
~1,000SF
LOAD =
400SF/TON=
1000/400=
2.5 TON
30,000 BTU

## Slide 36: Cooling – Rule of Thumb
12,981 = 1.08 TON
1,000/1.08 =
926 SF/TON
926/400 =
2.3x oversized

## Slide 43: VENTILATION

## Slide 66: Bag and Stopwatch

## Slide 72
Notes: 2024 Guidebook references MF QA Workbook which calculates this automatically, same requirement