## Slide 1
Marc Rosenbaum, PE, CPHC, MA CSL – Energysmiths – West Tisbury, MA
Using the Sun in Buildings
Twenty-Seventh Westford Symposium on Building Science
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 2
Why Bother?
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Make better buildings, for people and the planet
- Use to provide space heating
- Avoid cooling load
- Heat domestic water
- Heat outdoor pools
- Make electricity
- Light buildings
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 3
The Earth’s Axis is Tilted
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 4
Sun Paths
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 5
Solar Spectrum
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 6
Glazing and Coatings
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
SHGC VLT
Dbl Clear 0.763 0.814
Clear-180 0.674 0.788
272-Clear 0.413 0.716
366-Clear 0.272 0.645
SHGC –
Solar Heat Gain Coefficient
VLT –
Visible Light Transmission
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 7
Calculating Solar Radiation (Insolation)
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Clear Day vs. Average Day
  Most modeling software uses average day solar data, in order to calculate average annual solar performance (space conditioning, water heating, electricity, daylighting)
  Clear day data is useful to calculate design cooling loads
  Clear day data is also used to calculate amounts of energy storage, both thermal and electrical, and to size blowers and pumps for transporting solar energy
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 8
Fan-forced Solar Greenhouse
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Active storage; passive release
A blower moves air carrying excess solar heat from the greenhouse to water storage in the Thermomass basement below
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 9
Fan-forced Solar Greenhouse
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Peak hourly clear day insolation sizes the blower
Peak hourly clear day insolation sizes the heat transfer from the air to the water containers
Daily clear day insolation sizes the heat storage (300 five gallon water containers)
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 10
Modeling the Manifold Air Jets
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 11
Solar Radiation Calculators Online
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
https://pvwatts.nrel.gov/
PVWatts is free online software designed to model solar electric system performance
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 12
Solar Radiation Calculators Online
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
My PV System
Average Day Insolation
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 13
Solar Radiation Calculators Online
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Change Tilt to 90 Degrees
Pvwatts is made to model solar electric systems, but can be used to model radiation on vertical surfaces
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 14
Solar Radiation Calculators Online
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
https://www.susdesign.com/tools.php
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 15
Solar Radiation Calculators Online
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
https://www.susdesign.com/tools.php
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 16
Effects of Tilt and Azimuth
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Chart: 
| January | February | March | April | May | June | July | August | September | October | November | December
South | 3.75 | 4.3 | 3.74 | 2.98 | 2.6 | 2.32 | 2.43 | 3.08 | 3.79 | 3.94 | 3.47 | 3.29
East | 1.45 | 2.07 | 2.43 | 2.64 | 2.98 | 3.13 | 3.1 | 2.99 | 2.6 | 1.92 | 1.36 | 1.24
North | 0.49 | 0.77 | 0.78 | 1 | 1.53 | 1.71 | 1.63 | 1.35 | 0.9 | 0.63 | 0.46 | 0.43
West | 1.26 | 1.98 | 2.19 | 2.47 | 3.18 | 3.4 | 3.43 | 3.19 | 2.59 | 1.86 | 1.26 | 1.08
45˚ South | 3.77 | 4.82 | 5.16 | 5.21 | 5.29 | 5.29 | 5.29 | 5.63 | 5.58 | 4.76 | 3.72 | 3.3
Average Monthly kWh/m2/day by Azimuth and Tilt, Martha’s Vineyard
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 17
Matching the Load to Tilt/Azimuth
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Is the load seasonal or annual?
  Heating and pool heating are seasonal
  Electricity and domestic water heating are annual
Is occupancy seasonal?
  Schools (and solar hot water seasonality)
Is the system output exportable?
  Only electricity is exportable (on a per building basis)
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 18
Effects of Location
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Chart: Solar Radiation on a vertical surface facing South, kWh/m2/day
| January | February | March | April | May | June | July | August | September | October | November | December
Barstow | 5.563 | 5.108 | 4.777 | 3.716 | 2.76 | 2.345 | 2.499 | 3.35 | 4.671 | 5.646 | 5.499 | 5.121
Boston | 4.191 | 4.239 | 4.232 | 3.005 | 2.511 | 2.142 | 2.437 | 2.843 | 3.582 | 3.689 | 3.295 | 3.005
Seattle | 1.931 | 2.533 | 2.685 | 3.02 | 2.745 | 2.435 | 2.682 | 3.466 | 3.454 | 2.741 | 1.804 | 1.613
Urbana | 3.487 | 3.548 | 3.339 | 2.917 | 2.452 | 2.383 | 2.518 | 3.226 | 4.042 | 3.958 | 3.662 | 3.185
Austin | 3.944 | 3.392 | 2.994 | 2.477 | 1.824 | 1.63 | 1.779 | 2.445 | 3.19 | 4.006 | 4.268 | 3.816
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 19
Matching the Aperture to Load
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Distinguish between average and peak insolation
110 sf net glazing, 11˚ east of south
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 20
Matching the Aperture to Load
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
January net heating load is 5,000,000 BTU
Daily average January insolation = 953 BTU/sf
Glazing SHGC = 0.60 (triple, 2 lites Cardinal 180)
Glazing area to offset January heating load = 282 sf
Daily clear day January insolation = 1,733 BTU/sf
Average January daytime heating load is 44,000 BTU
Clear day solar gain is 293,000 BTU, so the net energy that needs to be stored is 249,000 BTU – this is a lot! Interior temperature would rise ~34F. Utilizability
Actual glazing area of 110 sf is still somewhat over-sized  - old guideline of 8% south glass / floor area is too high for very low load buildings
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 21
Window Overhangs
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 22
Overhang Objectives
Heating season – don’t block direct sun
Cooling season – block direct sun
The tricky part - the sun’s path April 21st and August 21st is the same, but the heating/cooling load is not.
As the azimuth diverges from true south, overhangs becomes less effective. Overhangs on the east and west must be quite deep to shade the windows from low angle sun – these are known as porches (not Porsches)
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 23
Overhang Terminology
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 24
susdesign.com Overhang Analysis
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
https://www.susdesign.com/overhang/index.php
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 25
susdesign.com Overhang Analysis
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 26
Solar Pool Heating
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Pool collectors are typically unglazed low temperature plastic absorbers
In the Northeast, collector aperture is 50-100% of the pool surface
The most important conservation measure is a pool cover to suppress evaporation
My opinion is that solar electric panels combined with a heat pump pool heater (HPPH) is a better investment because:
  Excess energy can be exported
  HPPHs use much less energy than propane pool heaters
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 27
Solar Pool Heating
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 28
Daylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Daylighting is the controlled admission of natural light from the sun and the sky to provide building occupants with the lighting needed to perform desired tasks.
Daylighting may save energy
Daylighting has multiple beneficial effects on human health
Masterfully done, daylighting can inspire and uplift.
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 29
MIT Chapel Eero Saarinen 1954
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 30
MIT Chapel Interior
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 31
Saving Energy with Daylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
To save energy, electric lighting needs to be controlled and turned down or off as daylighting provides light
Today’s tech allows electric lights to be continuously dimmed (vs step control) and it can be done by individual fixture
Proper analysis of savings from daylighting must include energy used for heating and cooling
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 32
Lighting Efficiency
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Efficiency is units of light output per unit of energy input – it is measured in lumen/watt (lpw)
One footcandle is one lumen/ft2
What has changed over my working life is the efficiency of electric lighting – LEDs are available with lpw ratings of over 100
LEDs can provide light with less cooling load than sunlight!
So – daylighting is optimally done with the amount of glazing needed for other purposes
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 33
Lighting and Perception
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Good lighting facilitates our attention on that which within our field of vision is important –
* to perform our intended tasks
* to satisfy our innate biological needs
- orientation in space and time
- safety and security
We are confronted with innumerable stimuli and what we see informs our perception. Perception involves the brain processing what is seen and determining what is important vs. what is noise
“Perception thus differs from sensation by the consciousness of farther facts associated with the object of the sensation”
William James
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 34
Perception and Lighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 35
Basic Daylighting Principles
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Avoid glare
Provide light from more than one direction
Avoid beam sunlight on the work plane
Minimize contrast between objects
Use light, reflective surfaces to bounce light into the space
Provide views to outdoors
Give occupants control over daylighting sources
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 36
Glare (Not Daylighting)
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 37
Reducing Contrast
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
White surfaces adjacent to glazing
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 38
Reflective Surfaces
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 39
Daylighting and Climate
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Different climates – heating vs. cooling dominated; sunny vs. overcast – engender different daylighting strategies
Sunny, hot climates exclude direct sun
Cool, cloudy climates rely on the whole sky dome rather than direct sunlight
Northern European architects specialized in daylighting in overcast conditons – Alvar Aalto, Eero Saarinen
William Lam pioneered the integration of daylighting in both overcast and sunny conditions
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 40
Sidelighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Sidelighting (windows) is strongly dependent on orientation – north and south are optimal
Windows need control of direct sun while maintaining access to the overcast sky
Sidelighting typically can provide daylight penetration into the space roughly 1-1/2 times the glazing head height
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 41
Sidelighting Control
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Control of sunlight can be fixed or operable, internal or external
Operability can be manual or automated
Fixed sun control elements optimally should not suppress lighting in overcast conditions in climates with significant overcast conditions
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 42
Perforated Shades
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
TS – Total Solar Transmittance
RS – Solar Reflectance
AS – Solar Absorptance
TV – Visible Light Transmittance
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 43
External Operable Blinds
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
To be effective, blinds need a width/spacing ratio of 2 or more
Exterior blinds are more effective at keeping sun out
Blinds can be reflective on top to re-direct sunlight to the interior ceiling
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 44
Internal Operable Reflective Blinds
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
People can see out, and direct sunlight is directed to the ceiling plane
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 45
Light Shelves
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
External LS can bounce more direct beam into the room, and shade the lower window
But...it shades the lower window from diffuse light on overcast days
Internal LS
  Evens light levels front to back of the room
  On S facade, prevents direct beam on workplane or in occupants’ view
  Lowers total light admitted
External
Internal
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 46
Glazing with Light Shelves
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
The upper glazing needs no shading devices
As the orientation shifts from south the length of the LS must increase
The glazing below the LS receives shades, manually controlled by the occupant
This approach allows daylight penetration even in direct sun
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 47
Glazing with Light Shelves
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 48
Toplighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Toplighting can be skylights or south/north facing roof monitors
Skylights may bring in more cooling load but...
South-facing roof monitors may shift peak cooling load to the heating season, and need more glazing
Skylights are very effective in overcast conditions
In sunny conditions, skylights with clear glazing need to be placed to avoid direct beam sunlight on the work plane, but they can be used to provide some “sparkle” to spaces
Translucent glazing in direct sun is still extremely bright and can cause glare issues
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 49
Toplighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Excessively daylighting lobbies and circulation spaces will make spaces where people work seem darker so they will turn the lights on
Sparkle is great in transient spaces
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 50
Toplighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 51
Skylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 52
Skylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 53
Daylight Factor
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Daylight Factor (DF) is the ratio of light on a horizontal plane outdoors to light on the work plane indoors
DF = SFR x VLT x WF x CU
SFR – Skylight area to floor area ratio
VLT – Visible Light Transmittance
WF - Well Factor
CU– Room Coefficient of Utilization
Well Factor - how effective the skylight well is at transmitting the light that the skylight admits into the space
Well Factor depends on the geometry of the well, expressed by the Well Cavity Ratio, and the reflectance of the well enclosure
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 54
Daylight Factor
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Well Cavity Ratio = 5 x H x (W+L) / (WxL)
Daylight Factor for ridge skylight
DF = SFR x VLT x WF
= 0.07 x 0.56 x 0.63
= 2.6%
Well Factor vs WCR and reflectance
WF = 0.63
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 55
Daylight Factor Results
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Light levels are lower beneath the cupola
DF below ridge is 2.7%
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 56
Skylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Light manipulated at the roof
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 57
Modeling Daylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Light scales
Paint the interior
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 58
Modeling Daylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 59
Modeling Daylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 60
Modeling Daylighting
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Initial heating is 6.5 Million BTU
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.

## Slide 61
Thank You!
Marc Rosenbaum, PE – Energysmiths – West Tisbury, MA
Notes: REQUIRED. This should come after the Welcome/Best Practices and Copyright slides.